Chapter 16 Quiz

| Name: |  | Date: |  |
| --- | --- | --- | --- |

Directions:	Write the correct answers on the blanks provided.

1.	During the plans review process, the building owner or contractor acquires an application form from the jurisdiction. (680)

A.	True

B.	False

2.	In fast-track plans review, construction is begun before final details of the design are completed. (682)

A.	True

B.	False

3.	Permits and fees for plans review are usually charged by the city government. (683)

A.	True

B.	False

4.	The submittal of building plans is established by the state government. (684)

A.	True

B.	False

5.	Support documents may include illustrations of individual components taken from a manufacturer’s catalog. (686)

A.	True

B.	False

6.	A plan view is a two-dimensional view of the site as seen from directly above the area. (690)

A.	True

B.	False

7.	Mechanical systems are capable of spreading fire and smoke. (698)

A.	True

B.	False

8.	Occupant load is determined after life safety and fire-protection features. (709)

A.	True

B.	False

9.	Which of the following is NOT one of the four main types of plan views? (686)

A.	Site

B.	Plan

C.	Detailed

D.	Sectional

10.	Structures to be removed are drawn with: (690)

A.	red ink.

B.	thick double lines.

C.	a light broken line.

D.	a shaded background.

11.	Which of the following is NOT a factor for which fire and smoke barriers should be checked? (710)

A.	Thickness

B.	Continuity

C.	Opening protection

D.	Fire-resistance rating

12.	Where may locations and capacities of portable fire extinguishers be found? (711)

A.	On the floor plan

B.	On the permit application

C.	On the architect’s drawings

D.	On the fire alarm control panel (FACP)

Directions:	Write a brief answer to the questions below.

13.	By what two methods may elevation views be labeled? (694)

14.	What four components of exit illumination must be evaluated by inspectors? (701)

15.	What are three components of exit capacity that must be examined? (610)