Chapter 16 Quiz

| Name: |  | Date: |  |
| --- | --- | --- | --- |

Directions: 	Write the correct letter on the blank before each question.

1.	Complex complaint procedures involve considerably more time and investigation on the part of the:  (724)

A.	inspection office.

B.	building manager.

C.	owners/occupants.

D.	legal office of the AHJ.

2.	The Inspector II will need to be able to determine which ____ has the ultimate authority over the questions.  (725)

A.	official

B.	legal counsel

C.	building inspector

D.	consensus standard

3.	Inspector duties may require reviewing a facility’s current emergency plan and determining its compliance with:  (725)

A.	state laws.

B.	federal laws.

C.	consensus standards.

D.	applicable codes and standards.

4.	Which of the following is a duty of a monitor?  (726)

A.	Removing key business documents from the building

B.	Providing rehabilitation services to evacuated persons

C.	Determining primary and secondary evacuation routes

D.	Accounting for people who are evacuated from the area

5.	Which element of an emergency plan is common to all types of occupancies?  (727)

A.	The distance to the nearest fire department

B.	The performance of essential safety shutdowns

C.	The types of fire suppression and alarm notifications systems

D.	The need to evacuate the structure in a timely and efficient manner