Chapter 10 Quiz Answers

1.	A

2.	B

3.	B

4.	B

5.	A

6.	A

7.	B

8.	A

9.	C

10.	A

11.	C

12.	C

13.	All system parts are in correct location.

All manual actuators are unobstructed.

Tamper indicators/seals are intact.

Maintenance tags are in place and up to date.

Any obvious damage is noted.

Gauges are within operational limits.

Any equipment modifications or repairs are noted.

14. 	Smothering — Prevents air and flammable vapors from combining

Separating — Intervenes between fuel and fire

Cooling — Lowers temperature of fuel and adjacent surfaces

Suppressing — Prevents release of flammable vapors

15.	Answer should include at least three of the following:

Pesticide fires

Vapor suppression of fuming acids

Coal mines and other subterranean spaces

Concealed spaces (basements)

Fixed-extinguishing systems for specific industrial uses such as aircraft hangars

Chapter 10 Test Answers

Objective 1

1.	B

2.	C

3.	D

Objective 2

4.	A

Objective 3

5.	C

6.	D

7.	C

Objective 4

8.	D

9.	B

Objective 5

10.	D

11.	A

12.	C

Objective 6

13.	B

14.	D

15.	C

16.	A

Objective 7

17.	C

Objective 8

18.	C

19.	B

20.	B

21.	B

22.	C

23.	D

24.	C

Objective 9

Objective 10

25.	C

26.	B

27.	B

28.	B

29.	B

30.	A

Objective 11

This objective is measured in Learning Activity 10-II-1.

Objective 12

31.	B

Objective 13

32.	C

33.	B

Objective 14

34.	D

35.	C

36.	A

Objective 15

37.	D

38.	B

39.	D

Objective 16

40.	A

41.	D

42.	B