Chapter 16 Test

| Name: |  | Date: |  |
| --- | --- | --- | --- |

Directions: Write the correct letter on the blank before each question.

Objective 1:

Describe the steps of the plans review process.

1.	In which step of the plans review process does the building owner acquire an application from the jurisdiction? (680)

A.	Apply

B.	Submit

C.	Review

D.	Accept

2.	In which step of the plans review process are the final set of approved plans and documents stamped and signed? (680)

A.	Review

B.	Change

C.	Accept

D.	Authorize

3.	In which step of the plans review process is the permit to begin construction issued? (681)

A.	Submit

B.	Review

C.	Change

D.	Authorize

4.	Which of the following is required on a building permit application? (681)

A.	Change orders

B.	Occupant load of property

C.	Seal of design professional

D.	Description of work to be done

5.	Building permit applications are provided by the: (681)

A.	local government.

B.	state government.

C.	federal housing department.

D.	authority having jurisdiction (AHJ).

Objective 2:

Compare the sequence methods of plans review.

6.	Which sequence method is used when construction is begun before the final details of the design are complete? (682)

A.	Rapid

B.	Phases

C.	Segments

D.	Fast-track

7.	Which sequence method is most often found when a building or complex is designed with plans for later expansion? (683)

A.	Rapid

B.	Phases

C.	Segments

D.	Fast-track

8.	Which sequence method is most appropriate for large projects such as high-rise buildings or exhibition halls? (682)

A.	Rapid

B.	Phases

C.	Segments

D.	Fast-track

Objective 3:

Discuss the permits and fees that apply to plans review.

9.	Permit fees are usually charged by the: (683)

A.	state legislature.

B.	local government.

C.	reviewing agency.

D.	federal government.

Objective 4:

Describe building plans and construction drawings for plans review.

10.	The submittal of building plans and construction drawings is usually established by the: (684)

A.	AHJ.

B.	building owner.

C.	plans examiner.

D.	construction crew.

11.	Most building plans and construction drawings are required to be submitted in what form? (684)

A.	Typewritten

B.	Handwritten and hand-drawn

C.	In a spreadsheet presentation

D.	In an acceptable computer-aided design (CAD) format

Objective 5:

Describe various support documents that may be included in a plan review.

12.	Which of the following is NOT a support document that may be included in a plan review? (686)

A.	Material specifications

B.	Safety data sheets (SDSs)

C.	Mathematical calculations

D.	Product submittal information sheets

Objective 6:

Describe each of the four main types of plan views.

13.	Which views provide information concerning the overall layout of the site or building? (690)

A.	Plan views

B.	Detailed views

C.	Elevation views

D.	Sectional views

14.	Lot dimensions are often shown on a site plan as: (690)

A.	solid lines.

B.	broken lines.

C.	light broken lines.

D.	pair of parallel lines.

15.	Which of the following are shown on a site plan as a light broken line? (690-691)

A.	Utility lines

B.	Grade levels

C.	Structures to be removed

D.	Sidewalks and parking lots

16.	Floor plans include all of the following EXCEPT: (693)

A.	ramps.

B.	elevators.

C.	building services.

D.	plumbing features.

17.	A standard hinged door is symbolized on site plans by: (694)

A.	a parallel line.

B.	a pair of parallel lines.

C.	single line drawn from hinge side.

D.	letters or numbers enclosed in a circle.

18.	Elevation views include: (695)

A.	exterior walls.

B.	structures to be removed.

C.	utility service line connection points.

D.	sidewalks, parking lots, and driveways.

19.	Sectional views include: (696)

A.	utility lines.

B.	foundation.

C.	ceiling joists.

D.	doors and windows.

Objective 7:

Describe the types of system plans that require review.

20.	Inspectors must ensure that mechanical systems include: (698)

A.	HVAC access.

B.	elevator access.

C.	control dampers.

D.	fire alarm control panels.

21.	Which of the following should be checked during inspections of mechanical system plans? (700)

A.	Fire-suppression systems

B.	Date of system placement

C.	Locations of heat-sensing devices

D.	Refrigerant replaced with non-toxic materials

22.	When checking exit illumination, inspectors must evaluate all of the following EXCEPT: (701)

A.	power sources.

B.	emergency power.

C.	level of illumination.

D.	placement of exit illumination.

23.	Why should plumbing systems be reviewed? (702)

A.	To determine if storm drains are adequate for the building

B.	To determine if wastewater piping is in proper working order

C.	To determine if systems used to capture contaminated water are in place

D.	To determine if the water supply is adequate to support fire-protection systems

24.	Sprinkler systems should be checked for all of the following EXCEPT: (703)

A.	size of system.

B.	type of piping.

C.	type of system.

D.	extent of coverage.

25.	Sprinklers should be installed in accordance with the ___ listing of the sprinkler. (703)

A.	Underwriters Laboratories (UL)

B.	National Fire Protection Association® (NFPA®)

C.	American National Standards Institute (ANSI)

D.	National Institute for Occupational Safety and Health (NIOSH)

26.	Standpipe and hose systems plans should be used to determine all of the following EXCEPT: (704)

A.	FDC location.

B.	amount of agent required.

C.	discharge control valve locations.

D.	pressurized air supply type and capacity.

27.	Special-agent fire-extinguishing systems plans should include: (704)

A.	system classification.

B.	FDC location and capacity.

C.	type of extinguishing agent being used.

D.	temperature of extinguishing agent required.

28.	Which of the following is a function of fire detection and alarm systems? (706)

A.	Escalator control

B.	Stair depressurization

C.	Supervision of alarm systems

D.	Doors that lock automatically when alarm activates

Objective 8:

Explain each of the general elements of a systematic plans review.

29.	Inspectors must understand how code treats all of the following factors EXCEPT: (708)

A.	lowest point to consider.

B.	highest point to consider.

C.	standpipe and hose systems.

D.	automatic sprinkler system protection.

30.	The designation of the occupancy classification is the responsibility of the: (708)

A.	AHJ.

B.	architect.

C.	inspector.

d.	building owner.

31.	Which of the following statements regarding occupant load is MOST accurate? (709)

A.	It is provided by the inspector.

B.	It must be identified on drawings.

C.	It is determined before life safety and fire-protection features.

D.	It is subject to change at any point during the construction process.

32.	The architect must include ___ on the detailed view drawing. (709)

A.	emergency lighting

B.	dimensions of lumber

C.	types of doors and windows

D.	details of separation walls and door assembly

33.	Which of the following is NOT a type of building compartmentation? (710)

A.	Fire-barrier walls

B.	Smokeproof enclosures

C.	Protection from hazards

D.	Protection of vertical openings

34.	Which of the following statements regarding building compartmentation is MOST accurate? (710)

A.	Escalators and elevators may be used as a means of egress.

B.	Fire and smoke barriers should be checked for size and location.

C.	Building compartmentation includes protection of concealed spaces.

D.	Inspectors must verify the fire-resistance rating of all construction components.

35.	Interior finishes requirements usually apply only to: (711)

A.	walls and floors.

B.	walls and ceilings.

C.	floors and ceilings.

D.	doors and windows.

36.	Locations and capacities of portable fire extinguishers should be found on the ___ plans. (711)

A.	site

B.	floor

C.	system

D.	mechanical

Objective 9:

Determine if plans meet egress code requirements.

This objective is measured in Learning Activity 16-II-1.

Objective 10:

Determine if system plans are code compliant.

This objective is measured in Learning Activity 16-II-2.